## Slide 1: ChannelFinder Directory Service
Ralph Lange
EPICS Spring Collaboration Meeting, June 2010
Aix-en-Provence

## Slide 2: Motivation and Objectives
A flat name space restricts seriously:
  Clients need to know all channel names beforehand
  Portable generic clients must be simple
  Apps need full configuration or framework supplied service
Develop a Directory Service
  Generic
    No dependency on installation and local conventions
  Simple and fast (enough)
    Use standards wherever possible
  Provides “query-by-functionality”

## Slide 3: Directory Data
Set of Channels (unique names)
Each Channel has an arbitrary number of Properties (name/value pairs) and Tags (names)
Each Channel, Property, or Tag has an Owner (group) to allow basic access control
All names and values are strings

## Slide 4: Typical Middle-Tier Design
REST style web service
  URI specifies the data element to operate on
  HTTP method specifies the operation
  Payload (XML, JSON) contains object representation
Application Server
RDB
  Contains directory data
Use LDAP to query user-group relations

## Slide 5: Implementation
Glassfish V3
Java EE 5
JAX-RS
JDBC
Netbeans 6.8
MySQL
LDAP
JNDI
Hudson
Maven 2
REST
Jersey
SourceForge
XML
JSON
PyUnit
JAXB
Mercurial

## Slide 6: Directory Data Sources
IRMIS or other RDB systems
  Geographical, hierarchical,
  engineering, physics data
DB file parser (PV names, attributes)
  Requires a good naming convention
Control room applications
  ”Joe’s favorite channels”

## Slide 7: Targeted Applications
Waterfall Plots
Scripts
Generic applications
Table-style panels
Archive clients

## Slide 8: First Performance Estimates
Test database contains 150k channels, with 7 properties each
Performance of getting channels with properties by property wildcard match: 1st call subsequent calls
  1 ch (500B data) 0.47s 0.009s
  2k ch (700kB data) 0.6s 0.13s
  4k ch (1.5MB data) 1.4s 0.9s
  (regular desktop machine, no optimization whatsoever)

## Slide 9: Status
Small changes and bug fixes while first applications are being developed
Stabilizing, getting close to first release
Work by: Gabriele Carcassi (App/Build Servers, IRMIS), Don Dohan (IRMIS), Ralph Lange (Directory Service), Kunal Shroff (Client Applications)