## Slide 1: EPICS-based motion control and data acquisition system on hard x-ray microfocus beamline station
Yan Fen
Hard X-ray Microfocus beamline,
Shanghai Synchrotron Radiation Facility

## Slide 2: Outline
Introduction of SSRF-BL15U1
Hardware structure for motion control and data acquisition
Experimental mode and results based on the hardware

## Slide 3
Introduction of BL15U1-the scientific goals
Microbeam fluorescence analysis
Microbeam XAFS (transmission、fluorescence)
Microbeam X-ray diffraction、scattering
The components, chemical properties and structures of the materials
Materials science、biology、earth and environmental sciences and nano science

## Slide 4
Energy range of photon: 5 – 20keV
Energy range of fluorescence
detection: 1 – 20keV
Energy resolution (ΔE/E): 5×10-5 - 2×10-4
Minimum spot size (FWHM): <2m K-B mirror
~100nm Zone Plate
flux@10keV: ~ 1011photons/s (2μm)
Introduction of BL15U1- design objective

## Slide 5: The Layout of Experimental Station

## Slide 6
Motion control
Flux
Fluorescent
Signal
Diffraction
XAFS
Fluorescent Mapping
XRD
Hardware structure

## Slide 7
IOC
  EPICS base 3.14.8.2 and 3.14.11
  OS：vxWorks5.5.1(MVME5500), Cygwin(PC)
  synApps：synApps-5-2、synApps-5-4和synApps-5-5
  Cross compiler：crossGCC-2.9.6（Linux）
OPI：
  OS：Scientific Linux4.4
  Interface development environment：edm-1-11, python
Software Environments

## Slide 8
Controlled object (45 motors)

## Slide 9
Basic structure for motion control

## Slide 10
Interface for motion control

## Slide 11: Hardware structure for Detect Beam Flux
Ion chamber
ADC
Pre amplifier
V/F
Scalar
PC (Linux)
Pre amplifier
Ion chamber
Internet
NIM crate
VME crate
ADC
SCALAR

## Slide 12: Si(Li) Detector for Fluorescent Mapping
1,000,000 counts/sec/channel
xMAP: PXI module for multi-element detectors. 4 detectors per PXI module. Faster than Saturn and DXP2X, and with high-performance features.

## Slide 13: SDD detector for Fluorescent Mapping
Saturn: standalone unit for single-element detectors. This is also sold in an OEM version inside the Vortex electronics from SII

## Slide 14
Array Detectors for Diffraction

## Slide 15: XAFS -- interface and results

## Slide 16: Fluorescent Mapping --Scan Mode
Step
by
step
Start position
Outer loop x
Inner loop y
Detector count
Inner end
Outer end
End
No
N pixel
Yes
Yes
No
M pixel
Start position
Outer loop x
Inner loop y.N
Detector count
Outer end
End
Yes
No
M pixel
On the fly

## Slide 17: Fluorescent Mapping Results-- Step by Step
The distribution of As in the seed at different growth stage. Zhu Yongguan, New Phytologist. 2011(189): 200-209

## Slide 18
1000 Nickel mesh
Pixel: 500*500
time: 38minutes
Scan time/pixel: 0.003 second
Spleen of mouse
Pixel: 530*647
time: 2hours20minutes
Scan time/pixel: 0.02 second
Fluorescent Mapping Results-- on the fly

## Slide 19
CeO2-diffraction pattern
X-ray Diffraction Results

## Slide 20: Conclusion
All the hardware has been used under EPICS in BL15U1 station
Based on EPICS, many functionalities have been implemented, such as XAFS, fluorescent mapping and diffraction

## Slide 21
Thank you!