## Slide 1: EPICS Version 4 – Normative
V4 Team – presented by Bob Dalesio
EPICS Meeting
October 7, 2011

## Slide 2: Outline
V4 Architecture
Normative Data Types
Conclusions

## Slide 3: Version 4 – First Deployment
Distributed Front-Ends
MMLT Client
Physical Device
Ethernet
Production HLA Client
CAC
CAC
CAC
Diag Database
CAS
Physical Device
PS Database
CAS
Physical Device
RF Database
CAS
Physical Device
Vac Database
CAS
Physical Device
Util Database
CAS
Matlab, SDDS, Python
CAC
Diamond Simulation
Diag & PS
CAS
Channel Archiver View
PVManager
PVAS
Channel Finder Svr
SQL
RDB
PVAC
PVAC
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
PVAS
Gather Service
CAC
PVAC
PVAS
PVManager Service
CAC
PVAS
Configuration Data
SQL
IRMIS
PVAC
UnitConv., Bump, etc..
PVAS
PVAC
Distributed
Middle
Layer
Services
Clients
PVAS
Archive retrieval
XML/RPC
Channel
Archiver
Control System Studio

## Slide 4
Normative Data Types - General
typeIdentifier -------------- typeIdentifier is a long whose bitfield value is used to uniquely identify a PVStructure instance as an example of a data type. The first 16 bits (of 64) are reserved to identify the normative types.
The following control types are defined as structures of atomic types, and encoded as PVStructure. structure enum_t members: int index, string[] choices
structure timeStamp_t members: long secsPastEpoch, int nanoseconds, int userTag structure alarm_t members: int severity*, int status*, string message structure nameValuePair_t members: string name, string value
*severity is defined as an int (not an enum_t), but should be functionally interpreted only as the enumeration {NONE, MINOR, MAJOR, INVALID, UNDEFINED } *status is defined as an int (not an enum_t), but should be functionally interpreted only as the enumeration {NONE, DEVICE, DRIVER, RECORD, DB, CONF, UNDEFINED, CLIENT }

## Slide 5
Specific Normative Data Types
NTMultichannelArray
Uses:
represent a collection of single values as an ordered array
all of the temperatures along a beam line, all x positions in the linac, etc…
V3 database implementation
the Australian Synch’s Concatenate Record used on AI’s
Additional information in the V4 normative type:
severity for each of the members, difference in time from the time stamp, position
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type: Orbit Service
NTTimeDomainArray
Uses:
represent an array with regular intervals between samples
a scope trace from a digitizer
V3 database implementation
Waveform record connected to a scope
Circular Buffer in the Compress Record
Additional information in the V4 normative type:
Time between samples
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type: RF analysis

## Slide 6
Specific Normative Data Types
NTHistogram
Uses:
counts of instances of a value in a set of ranges
track the number of occurrences of a signal in various value ranges
V3 database implementation
Histogram Record
Additional information in the V4 normative type:
start value, end value, method (linear/log), highest alarm status and severity,
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type:
maintenance service that monitor signals for normal range of operation
NTNDArray
Uses:
collect data of the same type into a multidimensional array
multiple frames of a detector taken at 1 KHz for 1 second
V3 database implementation
areaDetector
Additional information in the V4 normative type:
number of dimensions, dimensions, data type
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type:
analysis of data samples in real time

## Slide 7
Specific Normative Data Types
NTFrequencyDomainArray
Uses:
Convert data into frequency domain
FFT of 10 KHz data taken for 1 second to study noise frequencies
V3 database implementation
FFT Record
Additional information in the V4 normative type:
start frequency, change in frequency between samples
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type:
maintenance service that monitor signals for normal range of operation
NTStatistic
Uses:
any data being compressed from its original rate
fast sampling in hardware to EPICS DB
fast sampling record into a single sample at a much lower rate
return archive data compressed to meet the needs of the request
V3 database implementation
could be done in ASUB record
Additional information in the V4 normative type:
first sample, first sample time stamp, last sample, last sample time stamp,
mean, high, low, standard deviation, highest alarm severity, number of samples used to create this
general applications that support this type: Control System Studio Plugins for plotting
Channel Archiver
middle layer service that use this type:
analysis of beam position monitor performance

## Slide 8
Specific Normative Data Types
NTImage, NTImageArray
Uses:
collect images from detectors
V3 database implementation
areaDetector into Waveform records
Additional information in the V4 normative type:
dimensions, encoding,
general applications that support this type: Control System Studio Plugins for image display
Channel Archiver
middle layer service that use this type:
image analysis
NTTable
Uses:
a way to return any list of values or collection of name,
value pairs of different data type such as
metadata for a camera set up: filter, exposure time, camera used, etc…
This is the catch all data type that can define a structure of single values or arrays (of the same length)
V3 database implementation
Additional information in the V4 normative type:
column labels, column length
general applications that support this type: Control System Studio Plugins for table display
Channel Archiver
middle layer service that use this type:
twiss parameters
NTChannelFinderDirectory
e.g. returned as an ordered list of PVs from a query to a directory service to populate a multi-channel array or table

## Slide 9
Users and developers using EPICS V4 are not precluded from defining their own special purpose types
Only the normative types defined above, are guaranteed to be understood by EPICS V4 services and clients.
Non-normative types can take a chunk of the remaining 48 bits in typeIdentifier to register these types for their specially written servers and clients.
Version 4 PVData and PVAccess fully support this.
The definition of these data types allow us to create them at any level: in the FPGA, in the IOC, in the middle layer applications.
Non-Normative Data Types

## Slide 10
Normative data types are in Draft form. The small group of core and service developers have created this. It will be open for comment before anything is finalized.
These normative types present PVData to the client and server interfaces to enable easy use of this framework (i.e. you can implement a normative type as unsigned – without Marty knowing).
Control System Studio is providing applications for these data types in parallel through the aggregations in PVManager.
Conclusion