## Slide 1: Display Builder Update
Kay Kasemir,
Megan Grodowitz,
Amanda Carpenter (SNS),
Claudio Rosati (ESS)
May 2017 EPICS Meeting KURRI, Japan

## Slide 2: CS-Studio ‘BOY’
Great tool, but internal limitations (UI thread, modularity)

## Slide 3: Display Builder
BOY
Display Builder
Model
Representation
JavaFX
Editor
Runtime
PV
Modular code
Load files, handle PV updates & scripts off the UI thread
Compatible w/ *.opi files

## Slide 4: Editor

## Slide 5: Widgets
Handles most “BOY” widgets and their key properties.
Implemented by 4 different contributors.
  Missing:
  Knob, Thumb Wheel
  Symbol

## Slide 6: Refine and Consolidate Widgets
Picture
  Rotate by any angle
Rectangle, Rounded Rectangle
  Rectangle w/ corner width, height
LED with different PV behavior
  LED for binary PV or ‘bit’
  MultiStateLED for N states

## Slide 7: Editor Comparison

## Slide 8: Inline Editor for Key Properties
In editor, Double-click widget for
  PV Name (Any widget with PV)
  Text (Label Widget)

## Slide 9: Properties: Arrays and Structures
“state_0_color”, .., “state_value_3”
  Actual arrays and structures: “states[0].color”, “states[3].value” Array size only limited by memory

## Slide 10: Widget Classes
Definition
  Class Name
  Selected Property Values
Use
  Select Class

## Slide 11: Image Widget
PVs:
ca://waveform + width + height
pva://image
ROIs
Colormaps

## Slide 12: Table Widget
Data:
VTable PV (read-only)
String[][] (read, write)
Toolbar:
Add/remove row, column
Move row/column
Publish selected cells in VTable PV

## Slide 13: Poly Editor
‘Append’ Mode
  Add points
  Delete last point
‘Edit’ Mode
  Move
  Add
  Delete points
Toggle between modes

## Slide 14: Macros
String Properties
  PV Name “$(S):XYZ”, Text “Hello, $(NAME)”
Numeric, Boolean Properties
  Width $(WIDTH), Visible $(SHOW)
  as long as value is numeric resp. “true”/”false”
Default values
  $(S=Test), $(WIDTH=100)

## Slide 15: Alarm-sensitive Border
Space-efficient, distinguishable
Minor: Single-line
Major: Double-line
Invalid/Disconnected: Broken line .. now without widget body resize

## Slide 16: Open Editor from Runtime

## Slide 17: Upgrade Path for *.opi Files
“Open abc.opi!”
  Actually loading abc.bob, if present
  Editor always saves as *.bob file
 Leave most *.opi in place, only manually update to *.bob as needed:
  Fine-tuning of layout
  Scripts, some rules
  Tables
  Plots

## Slide 18: Scripts
Execute in background
JavaScript
Jython
C-Python

## Slide 19
Minimal script compatibility
  val = PVUtil.getDouble(pvs[0])
  pos = 100 + 20*val
  widget.setPropertyValue(“x”, pos)
Convert x.opi into x.bob, then use new scripts
Keep existing x.opi and update just the scripts:
try: # Use new API from org.csstudio.display.builder.runtime.script import ScriptUtil except: # Fall back to old API from org.csstudio.opibuilder.scriptUtil import ScriptUtil

## Slide 20: Rule & Script Dialog Streamlining
All rules of a widget in one dialog

## Slide 21: Standalone Runtime
“Like EDM”
  DisplayRuntime –options .. /path/to/display_file

## Slide 22: Standalone vs. Integrated in CS-Studio
Startup from scratch: 3 seconds | Start CS-Studio, restore display: 8 sec
Uses *.opi from command line | Open files via Navigator, “Top Displays” menu
Standalone Window | Pane/Tab within Workbench Window
- | Toolbar: Back/Forward; Zoom
- | Open Widget’s PV in Tree, Data Browser, …
- | Email screenshot, or send to Logbook
Full JavaFX speed | SWT FXCanvas bottleneck
Preference file for CA Addr list etc. | Preference file & UI, Online help
Close Window  Start over | Persists window state

## Slide 23: Performance (Linux)
.. remote via Cendio ThinLic,
or ssh options for weak encryption, compression
Speed
BOY
UI freeze when loading display, executing script, ..
Display Builder (JFX, standalone)
No UI freeze!
Display Builder (FXCanvas, in CSS)
No UI freeze ..
JFX/FXCanvas remote via ssh

## Slide 24: SNS Beam Lines
2 beam lines use display builder
  Existing *.opi
  Plots with error bars
  Interactive sample centering on ‘click’
3 more updated this summer

## Slide 25: SNS Beam Lines

## Slide 26: SNS Beam Line Detector Display
Capable of displaying the full-size X/Y histogram (4500x1800 pixel)
Interactive zoom & pan

## Slide 27: Boy, Only Better
  Operational on SNS Beamlines
  Background threads, faster, less freezing
  Reads existing files
    Scripts, tables, plots require adjustments
  To try:
  Seminar on Friday
  SNS or ESS products
  https://github.com/kasemir/org.csstudio.display.builder

## Slide 29: Edit Time Data Flow
Model
Representation
JFX
Editor
Update
Add Widget,
Set Property
Notify of changes
Present current state of Model
File
Save

## Slide 30: Runtime Data Flow
Model
Representation
JFX
Runtime
PV
Update
Enter Text, Push Button
Notify of changes
Present current state of Model
File
Load
Scripts, (Rules)
UI Event

## Slide 31: File Format
Similar, yet
Concise
Useful order
.bob