## Slide 1
LIPAc project EPICS integration experience
Alvaro Marqueta (F4E)
EPICS Collaboration Meeting
KURRI, Japan
16-18 May 2017

## Slide 2
  What is LIPAc?
★
Rokkasho
LIPAc = Linear IFMIF Prototype Accelerator

## Slide 3
Introduction to IFMIF/EVEDA
A bit of history…
21 November 2006
1 June 2007
Broader Approach
Agreement
ITER
Agreement
ITER
IFMIF/EVEDA
IFERC
JT60-SA

## Slide 4
JT60-SA
Introduction to IFMIF/EVEDA
DEMO
Main contributors to DEMO design
ITER
IFMIF/EVEDA
IFERC

## Slide 5
Introduction to IFMIF/EVEDA
IFMIF -> International Fusion Materials Irradiation Facility
(the fusion relevant neutron source)

## Slide 6
Introduction to IFMIF/EVEDA
IFMIF -> International Fusion Materials Irradiation Facility
(the fusion relevant neutron source)
ITER first wall will present
<2 dpa at the end of its operational life
In a Fusion power plant
~150 dpa within 5 years are expected
Existing neutron sources do not provide the needed answers

## Slide 7
Introduction to IFMIF/EVEDA
IFMIF -> International Fusion Materials Irradiation Facility
(the fusion relevant neutron source)
n
deuteron
lithium
  D+ Accelerator:
  40 MeV, 125 mA CW
  5 MW
  Li loop:
  250ºC, 15m/s, ±1mm amplitude stability
  Test facility:
  Withstand dpa levels

## Slide 8
Introduction to IFMIF/EVEDA
IFMIF -> International Fusion Materials Irradiation Facility
(the fusion relevant neutron source)
EVEDA -> Engineering Validation and
Engineering Design Activities
EDA phase:
EVA phase:
IFMIF II-EDR
LIPAc (Accelerator Facility)
9MeV, 125mA CW
Test Facility
Target Facility

## Slide 9
★
Rokkasho
Breakdown of contribution for LIPAc

## Slide 10
Conventional facilities
Administration &
Research Building
Computer Simulation & Remote Experimentation Building
DEMO R&D Building
IFMIF/EVEDA
Accelerator Building

## Slide 11
RFQ/MEBT/D-Plate in line

## Slide 12
RF system installation

## Slide 13
Coaxial waveguide installation

## Slide 14
Works outside

## Slide 15
An in-kind contribution
EU Contribution:
Control of local subsystems (devices, loops, screens)+EPICS integration
JA Contribution:
Provision of central services (protection, beam synchronization, data management)
★
Rokkasho

## Slide 16
LIPAc in figures:
Around 50 IOCs -> Distributed among 8 main subsystems
More than 40,000 PVs
EPICS organization
VME+ADAS
& MODBUS
SIEMENS PLC
-> IOC on s7PLC drv
(formerly, OPC)
cPCI & Intel i7 + ADC-DAC
for LLRF, BPMs
+ a number of other specific devices

## Slide 17
Top repositories centralized – IOCs distributed
  topIFMIF_INJ
  topIFMIF_RFQ
  topIFMIF_MEBT…
EPICS organization
Common EPICS distribution (curr.3.15.3) & development guidelines (templates, drivers, etc)

## Slide 18
EPICS integration
Central services (to be provided by QST…):
Archiving system: currently SQL based, aiming at archiver appliance
Alarm system: currently OPI based, aiming at CSS-BEAST
E-logbook, backup&restore…
Integration framework developed by F4E.

## Slide 19
Gathers all signals from subsystems for beam stop
Independent of CCS in the decision-making process
Interfaces CCS for operation (display & function reset)
Very fast beam inhibit (up to 30 µs)
Based on proven-in-use technology (derived from J-PARC)
LIPAc MPS: basic architecture
Module
Unit

## Slide 20
LIPAc Timing System
VME and NIM modules, Master Clock Generator
Timing signal interface specification, 5V/50Ω
Using proven technology (obsolete? -> J-PARC)

## Slide 21
Next steps
A-FNS
Plans are to construct it in Rokkasho
14 MeV neutrons
available by 2027
DONES
125 mA at 40 MeV

## Slide 22
Thank you
Thank you!