## Slide 1: An IoT Peripheral Radiation Monitoring System
James Morad June 13 2018

## Slide 2: Project overview
Goals
  Integration of radiation sensors into central control system.
  Archiving and storage of radiation data
  Reliable wireless communication
Requirements
  Gamma & neutron dose rate must be measured in mrem/hour at 1 minute interval
  Dose rates must be stored in a central location accessible to the users.
Device communication through asyn, StreamDevice

## Slide 3: Network design

## Slide 4: Out with the old…

## Slide 5: In with the new!
SWENDI neutron detector
EcoGamma
WiFi Bridge
RS232 Adapter
Network Switch
DC Power Supply
N-type Feedthrough to External Antenna

## Slide 6: Field installation
PM1 (SLAC garden)
PM2

## Slide 7: A birds-eye view

## Slide 8: Individual station data
Station | Signal Strength (dB)
PM1 | -78
PM3 | -78
PM4 | -70
PM5 | -78
PM6 | -81
PM8 | -71
Note: PM7 is connected to the network via a DSL modem while PM2 is still a work in progress

## Slide 9: Cosylab Loves GDPR!!!
CSL has always treated personal data with respect
GDPR turns such good practice into formal rules
One outcome: it’s not enough you once told us in person you like the great technical articles in our Control Sheet newsletter
You have to sign-up through the webform
https://www.cosylab.com/signup/

## Slide 10: Yes, I want Control Sheet! 
https://www.cosylab.com/signup/