## Slide 1: EPICS Modifications enabling Lua –Based Data Processing Subscription Update Filters
Jeff Hill

## Slide 2: Data Processing Lua Subscription Filters – Lua, a Brief Introduction (review)
Lua, a Brief Introduction (review)
EPICS Integration of Lua milestones (review)
Data Processing Lua Subscription Filters, Motivation
Data Processing Lua Subscription Filters, Implementation
Conclusions

## Slide 3: Data Processing Lua Subscription Filters – Lua, a Brief Introduction (review)
Lua embeddable language was created in 1993
  By members of the Computer Graphics Technology Group (Tecgraf) at the Pontifical Catholic University of Rio de Janeiro, in Brazil.
"Lua" (pronounced LOO-ah) means "Moon" in Portuguese
Interpreted, compiled at load-time to byte-code
A mixture of C-like and Pascal-like syntax
Dynamic typed, automated conversion between string and numeric types
Efficient virtual machine execution, small footprint, incremental garbage collection, easily interfaced with C code
Liberal MIT license
Some negatives also, see my talk at Michigan EPICS meeting
  In particular, variables are globally scoped by default

## Slide 4: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
Lua 5.2.3, the current release, embedded inside of EPICS base
  Built by the EPICS build system
Lua 5.2.3 has the upgraded support for integer primitive types
The current released version of Lua is now at 5.3

## Slide 5: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
Lua based subscription filtering in the CA server
  Event queue is order correct
  Based on C++ 11 shared pointer
    Subset of boost included in EPICS base supporting prior compilers
  Based on Data Access abstract base class
    Interface is independent of data source implementation

## Slide 6: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
Lua based subscription filtering in the CA server
    Filters specified in channel name postfix
      Invoking Lua methods supplied when the IOC boots
    Each client attaching to the server
      Instantiates an independent Lua context

## Slide 7: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
Alternative EPICS SHELL
  In contrast, a fully functionality scripting language
    Powerful libraries, built-in and community
An environment well proven for use in
  Configuration
  Scripting
  Rapid-prototyping

## Slide 8: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
Currently we have two computational record-level building block components
  EPICS calc record
    Excellent rapid prototyping, but limited functionality
  EPICS subroutine record
      Excellent efficiency, but possibly less popular for rapid prototyping
  A new Lua based record provides
    Comprehensive functionality set
    A reasonable compromise runtime execution efficiency
    The rapid prototyping we depend on with the calc record
      Upgrade in-place
        Runtime code updates via CA puts to lua record fields
    And, hopefully the heavy lifting comes for free with Lua

## Slide 9: Data Processing Lua Subscription Filters – EPICS INTEGRATION Of lua milestones
IOC’s registrar enhanced to allow registration of
  C object code embedded Lua code
  Lua interfaced C code
Facilitate these components to be instantiated into Lua contexts when they initialize
  EPICS Lua IOC Shell per-shell private Lua contexts
  EPICS Lua record per-record private Lua contexts
  EPICS CA server per-client private Lua contexts
Use C++ shared_ptr for life time management of read-only Lua byte code chunks
  Less overhead, no Mutex required

## Slide 10: Data Processing Lua Subscription Filters – Motivation
At LANSCE, in addition to gate flavored subscriptions, we need
  Application specific data attributes conveyed from server
    To application specific CA clients
      Defining server-to-client private application specific protocol
  Conveying
    An array time-slice, specified by channel name postfix
      Offset, from gate rising / falling edge, time delay units
      Width, time delay units
    Bit mask identifying Array active beam gates when the data were captured
      Implemented by inserting an additional array element
    The status of the filter request
      Implemented by inserting an additional array element

## Slide 11: Data Processing Lua Subscription Filters – implementation
Lua wrapper objects for Data Access generic interfaces
  Number, Integer, Boolean, String, TimeStamp, container (Catalog), Array, Nill
  Enclosing
    The data, or a reference to an Array interface or container (Catalog) interface
      Array interface publishes element sequence with bounds
    Reference to Catalog of subordinate properties
  Property hierarchy traversal via Lua “dot” indexing
Filters previously returned only {false,true}
  False suppresses update, true sends update
Filters now optionally return also {Nill, Data Object}
  Nill return suppresses subscription update
  A returned data object is proxy delivered in the CA subscription update payload
  Windowing and array element insertion implemented by C based resequencing Lua snap-in
    This does not result in reallocation of space for array or array copying
New

## Slide 12: Data Processing Lua Subscription Filters – status
Lua features described here are in Bazaar branch
  lp:~johill-lanl/epics-base/server0
Lua features described here as new
  Development branch, in-progress
  lp:~johill-lanl/epics-base/server1

## Slide 13: Data Processing Lua Subscription Filters – conclusion
LANSCE has implemented a comprehensive integration of Lua into EPICS base
  Lua based EPICS shell
  Lua script record
  Registry loaded Lua chunks, Lua interfaced C code
  CA server Lua subscription update filtering / data processing
    Data Access Array is a Lua object
    Filter optionally returns proxy data object delivered in data payload to client
New