## Slide 1
Ralph Lange, ITER Organization
OPC UA Device Support Overview and Status

## Slide 2: OPC UA Background
Industrial protocol to interface SCADA to PLCs
  Covers live data, alarms, events, historical data
Based on OPC Classic (Microsoft), OPC UA provides
  Functional equivalence
  Portability
  Safety (authentication, encryption)
  Information modeling (user defined structures)
Gaining traction as a universal integration tool

## Slide 3: EPICS Device Support
Based on commercial C++ Client SDK
  By Unified Automation: ~3.5k€ for sources and 1yr support
  Binaries can be distributed royalty-free
  Platform: Windows and Linux
Prototype by Bernhard Kuner (HZB / BESSY II) https://github.com/bkuner/opcUaUnifiedAutomation
ITER use cases tested by F4E (ITER) and TCS (India):
  S7-1500 embedded OPC UA server
  WinCC-OA embedded OPC UA server

## Slide 4: Status and Roadmap
Requirements Specification v1.0 reviewed and agreed: https://bit.ly/opcua-srs-10
Design done (no formal doc, yet)
Currently working on “proper” implementation
First (incomplete) pre-release later this summer
Complete implementation by end of 2018
Under EPICS license, upstream repository on GitHub