Blue title page
Some Link Type Possibilities
Andrew Johnson, Controls Group
APS Engineering Support Division
Argonne National Laboratory

---
Blue body page
JSON Link Types
- New in Base-3.16.1, some recent improvements
- Intent: Let record links use protocols other than CA, so get/put data from/to sources other than just records:
  field(INP, {mqtt: {topic: "toaster/temperature", qos: 0}})
- DB files can use ‘relaxed JSON’ syntax, far fewer ‘"’ quotes
- A JSON link type may embed other JSON links:
  field(SIOL, {calc: {
  expr: "a + b*sin(c*i * pi/180); i := i<360 ? i+1 : 0",
  args: [{db: "Vout.OVAL"}, 0.1, 10]}})
- The ‘mqtt’ and ‘db’ link types shown above don’t exist yet, the ‘calc’ type does exist
[Speaker Notes: MQTT: ISO standard Internet-of-things publish/subscribe network messaging protocol, using a broker.]

---
Recent Developments
- The EPICS 7 pva2pva module now provides a ‘pva’ link type
- ‘calc’ now handles output links too; expression can change the value from an output record before passing it to an embedded ‘out’ link:
  field(OUT, {calc: {
  expr: "B:=VAL*0.33 + B*0.67; B",
  out: {http: {GET:"123.98.45.76:8080/set/%5.1f"}} }})
- New ‘state’ link type, gets/puts boolean values from/to the dbState named store that Ralph Lange added for server-side filtering in 3.15
- The new ‘debug’ and ‘trace’ link types handle setting the debug flag and tracing calls to individual links:
  field(OUT, {trace: {calc: {
  expr: "B:=VAL*0.33 + B*0.67; B",
  out: {http: {GET:"123.98.45.76:8080/set/%5.1f"}} }}})

---
Future Possibilities
- Conditional link type ‘if’:
  - Tests an input link and forwards all link operations to one of two other links (‘then’ or ‘else’) depending on the boolean result
  - The test could get a value, check link connection, alarm severity, etc.
    {if: {T: {state:"simulating"},
        then: {calc:{expr:"…"}},
        else: {pva:"remote-pv"} }}
    {if: {C: {pva:"remote-pv"},
        then: {pva:"remote-pv"},
        else: {db:"local-pv"} }}