## Slide 1: Ptychography Scanning
Andrew Wilson Beamline Controls Diamond Light Source
Spring 2018 EPICS Collaboration Meeting at the APS

## Slide 2: Contents
Introduction to Ptychography
Challenges posed for Controls
Deploying a standard solution
Developing support for J13 beamline

## Slide 3: Ptychography
Coherent scanning diffraction microscopy

## Slide 4: Ptycho-tomography

## Slide 5: Big datasets
30 * 30 images
One projection
One ptychotomo
1000 projections
One dataset
*
~
1 million frames
One frame
8 MB
*
~
8 TB
High rates of data collection
Fine and stable motion

## Slide 6
J13
I08
J08

## Slide 7: Standard Hardware Triggered Scanning framework
GDA
Malcolm
AreaDetector
pmac
Detector
Stages
GeoBrick
Coordination middle-layer (Python)
Experiment control (Java)
EPICS IOCs
PandA

## Slide 8: J13 beamline

## Slide 9
AreaDetector IOCs
GDA
SmarAct SDC2 controller
SmarAct XYZ slip-stick stages
Delta Tau GeoBrick
Ethernet
Motion IOC
Excalibur detector
Channel access
Step & direction
Lustre filesystem
Parallel HDF5
6x1 Gb Ethernet

## Slide 10: Go faster asap

## Slide 11
GDA
SmarAct SDC2 controller
SmarAct XYZ slip-stick stages
Delta Tau GeoBrick
Ethernet
Motion IOC
Excalibur detector
AreaDetector IOCs
Channel access
Step & direction
Custom Jython script
Custom motion program
Zebra
TTL
LVDS
GPFS filesystem
HDF5 + VDS
2x 10 Gb Ethernet

## Slide 12: Stage performance and detector reliability

## Slide 13
GDA
PI E727 controller
PI flexure stages
Delta Tau GeoBrick
Ethernet
Motion IOC
Excalibur detector
AreaDetector IOCs
Channel access
± 10V
Analog control
Custom Jython script
Custom motion program
Zebra
TTL
LVDS
GPFS filesystem
HDF5 + VDS
2x 10 Gb Ethernet

## Slide 14
GDA
PI E727 controller
PI flexure stages
Delta Tau GeoBrick
Ethernet
Motion IOC
Excalibur detector
AreaDetector IOCs
Channel access
± 10V
Analog control
Custom Jython script
Custom motion program
Zebra
TTL
LVDS
GPFS filesystem
HDF5 + VDS
2x 10 Gb Ethernet
ODIN

## Slide 15: Make it work with common framework

## Slide 16
GDA
PI E727 controller
PI flexure stages
Delta Tau GeoBrick
Ethernet
Motion IOC
with pmac
Excalibur detector
AreaDetector IOCs
Channel access
± 10V
Analog control
Malcolm
Standard motion program
PandAbox
With ADC
TTL
LVDS
GPFS filesystem
HDF5 + VDS
2x 10 Gb Ethernet
ODIN
± 10V feedback

## Slide 17
Bumblebee wing. 100 x100 mm FOV (Courtesy D. Eastwood)
Nanocellular polymer sample, showing a 3D rendering (left) and a single reconstructed slice (right). (Courtesy of S. Perez)
Thank you
Acknowledgements
J13 Beamline Team Darren Batey, Silvia Cipiccia, Xiaowen Shi, Russell Marshall, David Eastwood
Controls & Data Acquisition Alan Greer (Observatory Sciences), Ulrik Pedersen, Kaz Wanelik, Ed Warrick
Motion Control & Electrical Tec Lee Hudson, Nico Rubies, Russell Marshall
Detector Group
Scott Williams
References
Pmac support module https://github.com/dls-controls/pmac
Pymalcolm https://github.com/dls-controls/pymalcolm
PandaBox http://quantumdetectors.com/pandabox/
ODIN detector framework https://github.com/odin-detector
Contact me