## Slide 1: Transition to CS Studio/Phoebus at ESS
Fredrik Söderberg, Georg Weiss
Software Engineers
European Spallation Source ERIC
2019-09-27

## Slide 2: Transition to CS Studio/Phoebus at ESS
At ESS Display Builder is the preferred operator screen framework.
  Display Builder based on JavaFX, BOY based on Eclipse/SWT.
Maintenance of CS Studio/Eclipse with Display Builder is… expensive.
  Build system complex and error prone.
  Tipping point for ESS: Java 9+.
Display Builder inside CS Studio/Eclipse has some performance issues.
  CPU load for same operator display in CS Studio/Phoebus is up to 50% lower.
    JavaFX widgets in an Eclipse application are rendered through SWT.
  Memory footprint is (possibly) slightly smaller.
Current focus at ESS is to ensure that existing OPIs (Display Builder as well as BOY) can be run in CS Studio/Phoebus.
Why?

## Slide 3: Transition to CS Studio/Phoebus at ESS
Some Eclipse concepts are unsupported or work slightly differently:
  Workspaces and virtual directories – not supported.
  Working sets – not supported.
  Perspectives and views replaced by layouts.
  Plugins – not supported, but Java SPI (Service Provider Interface) offers similar features.
Current Eclipse – Phoebus delta

## Slide 4: Transition to CS Studio/Phoebus at ESS
No git integration in file browser.
Requires Java 11+
Not all tools ported.
New or changed services must be deployed:
  Alarm service due to API/protocol changes (replaces BEAST)
  Save-and-restore service
Some script constructs must be modified.
Help content currently incomplete.
No preferences editor.
Current Eclipse – Phoebus delta

## Slide 5: Transition to CS Studio/Phoebus at ESS
CS Studio/Eclipse BOY -> CS Studio/Phoebus Display Builder
  Open the existing *.opi in Display Builder , adjust, save the file as *.bob
  Missing widgets
CS Studio/Eclipse Display Builder -> CS Studio/Phoebus Display Builder
  Subtle differences in some of the widgets -> manually adjust some displays
  Missing widgets
Scripts
Manual tweak could be required
OPI

## Slide 6: Phoebus
Collaboration
  Use the same code base
  Community edition
ESS Style Guide
  Colors, Fonts, Classes, Splash screen.

## Slide 7: CS Studio/Phoebus Widgets
Missing Widgets
  Gauges
  Knobs, Controlled Knobs
  Clock, Digital clock
Depend on external libraries
hidden_widget_types=linear-meter,knob,gauge,clock,digital_clock
3D viewer
Missing widgets

## Slide 8: Widget Properties
CS Studio/Eclipse Widget Properties vs CS Studio/Phoebus Widget Properties
  Some widgets properties are different
  In general more properties to configure in CS Studio/Eclipse Display Builder

## Slide 9: Conclusions
CS Studio/Phoebus considerably easier to maintain.
Initial tests indicate better performance.
Transition may require manual conversion of OPIs. Applies to both widgets and scripts.
Not all BOY widgets supported (yet).
Cooperation is key success factor.